{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["LOAD.POD_HISTORIES"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"LOAD.POD_HISTORIES","index":0,"n_rows":96,"n_cols":26,"rows_kept":96,"flags":["formulas_cached_only"]}
["RECORDER_ID","TRANSACTION_DATE","HOUR","INTERVAL","NET_KW","NET_KVA","POD_READING_ATI","POD_METERING_POINT_ATI","UNIT_TASK_EVENT_ATI","POD_HISTORY_ATI","RECORD_TYPE","SEGMENT","COMPANY","NET_KWH","NET_KWH_SOURCE","NET_KVAR","NET_KVARH","NET_KVARH_SOURCE","NET_KVAH","FILE_TRACKING_ATI","DUPLICATE_FLAG","MV90_READING_ATI","DATA_STATE_ID","SITE_ID","ASSET_ID","BACKED_OUT_FLAG"]
["ATPLAST       ",110404,"1","1",10133.76,10389.12,1,40414,21662,1,"GEN",919032.25,"EP",2533.44,"ME",{"v":2289.262465686279,"d":"2289.26"},{"v":572.3156164215698,"d":"572.32"},"ME",2597.28,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,1,"2",10053.12,{"v":10298.4,"d":"10298.40"},2,40415,21662,2,"GEN",{"v":919032.5,"d":"919032.50"},"EP",2513.28,"ME",{"v":2234.238309939199,"d":"2234.24"},{"v":558.5595774847998,"d":"558.56"},"ME",{"v":2574.6,"d":"2574.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,1,"3",{"v":10046.4,"d":"10046.40"},10291.68,3,40416,21662,3,"GEN",919032.75,"EP",{"v":2511.6,"d":"2511.60"},"ME",{"v":2233.500450503652,"d":"2233.50"},{"v":558.375112625913,"d":"558.38"},"ME",2572.92,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,1,"4",10002.72,10241.28,4,40417,21662,4,"GEN",{"v":919033,"d":"919033.00"},"EP",2500.68,"ME",{"v":2197.5915544067816,"d":"2197.59"},{"v":549.3978886016954,"d":"549.40"},"ME",2560.32,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"2","1",10073.28,10321.92,5,40418,21662,5,"GEN",919033.25,"EP",2518.32,"ME",{"v":2251.9019801048175,"d":"2251.90"},{"v":562.9754950262044,"d":"562.98"},"ME",2580.48,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"2","2",10019.52,10261.44,6,40419,21662,6,"GEN",{"v":919033.5,"d":"919033.50"},"EP",2504.88,"ME",{"v":2215.032695740629,"d":"2215.03"},{"v":553.7581739351573,"d":"553.76"},"ME",2565.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"2","3",{"v":10012.8,"d":"10012.80"},{"v":10248,"d":"10248.00"},7,40420,21662,7,"GEN",919033.75,"EP",{"v":2503.2,"d":"2503.20"},"ME",{"v":2182.96590903294,"d":"2182.97"},{"v":545.741477258235,"d":"545.74"},"ME",{"v":2562,"d":"2562.00"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"2","4",9965.76,10190.88,8,40421,21662,8,"GEN",{"v":919034,"d":"919034.00"},"EP",2491.44,"ME",{"v":2130.1790527558915,"d":"2130.18"},{"v":532.5447631889729,"d":"532.54"},"ME",2547.72,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"3","1",9948.96,10174.08,9,40422,21662,9,"GEN",919034.25,"EP",2487.24,"ME",{"v":2128.4028671283104,"d":"2128.40"},{"v":532.1007167820776,"d":"532.10"},"ME",2543.52,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"3","2",9938.88,{"v":10164,"d":"10164.00"},10,40423,21662,10,"GEN",{"v":919034.5,"d":"919034.50"},"EP",2484.72,"ME",{"v":2127.336443912906,"d":"2127.34"},{"v":531.8341109782265,"d":"531.83"},"ME",{"v":2541,"d":"2541.00"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"3","3",9948.96,10177.44,11,40424,21662,11,"GEN",919034.75,"EP",2487.24,"ME",{"v":2144.406648003131,"d":"2144.41"},{"v":536.1016620007828,"d":"536.10"},"ME",2544.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"3","4",{"v":10147.2,"d":"10147.20"},10409.28,12,40425,21662,12,"GEN",{"v":919035,"d":"919035.00"},"EP",{"v":2536.8,"d":"2536.80"},"ME",{"v":2321.086443543193,"d":"2321.09"},{"v":580.2716108857983,"d":"580.27"},"ME",2602.32,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"4","1",10184.16,10442.88,13,40426,21662,13,"GEN",919035.25,"EP",2546.04,"ME",{"v":2310.114237175293,"d":"2310.11"},{"v":577.5285592938233,"d":"577.53"},"ME",2610.72,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"4","2",10184.16,10446.24,14,40427,21662,14,"GEN",{"v":919035.5,"d":"919035.50"},"EP",2546.04,"ME",{"v":2325.2559497827315,"d":"2325.26"},{"v":581.3139874456829,"d":"581.31"},"ME",2611.56,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"4","3",10143.84,10402.56,15,40428,21662,15,"GEN",919035.75,"EP",2535.96,"ME",{"v":2305.594198465979,"d":"2305.59"},{"v":576.3985496164947,"d":"576.40"},"ME",2600.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,"4","4",{"v":10214.4,"d":"10214.40"},10493.28,16,40429,21662,16,"GEN",{"v":919036,"d":"919036.00"},"EP",{"v":2553.6,"d":"2553.60"},"ME",{"v":2403.1141875491508,"d":"2403.11"},{"v":600.7785468872877,"d":"600.78"},"ME",2623.32,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,5,"1",10194.24,10469.76,17,40430,21662,17,"GEN",919036.25,"EP",2548.56,"ME",{"v":2386.073192506886,"d":"2386.07"},{"v":596.5182981267214,"d":"596.52"},"ME",2617.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,5,"2",10157.28,10436.16,18,40431,21662,18,"GEN",{"v":919036.5,"d":"919036.50"},"EP",2539.32,"ME",{"v":2396.476277203674,"d":"2396.48"},{"v":599.1190693009185,"d":"599.12"},"ME",2609.04,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,5,"3",10174.08,10436.16,19,40432,21662,19,"GEN",919036.75,"EP",2543.52,"ME",{"v":2324.11955355141,"d":"2324.12"},{"v":581.0298883878525,"d":"581.03"},"ME",2609.04,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,5,"4",{"v":10164,"d":"10164.00"},{"v":10432.8,"d":"10432.80"},20,40433,21662,20,"GEN",{"v":919037,"d":"919037.00"},"EP",{"v":2541,"d":"2541.00"},"ME",{"v":2352.9598041615563,"d":"2352.96"},{"v":588.2399510403891,"d":"588.24"},"ME",{"v":2608.2,"d":"2608.20"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,6,"1",10174.08,10439.52,21,40434,21662,21,"GEN",919037.25,"EP",2543.52,"ME",{"v":2339.160957266518,"d":"2339.16"},{"v":584.7902393166295,"d":"584.79"},"ME",2609.88,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,6,"2",{"v":9962.4,"d":"9962.40"},{"v":10197.6,"d":"10197.60"},22,40435,21662,22,"GEN",{"v":919037.5,"d":"919037.50"},"EP",{"v":2490.6,"d":"2490.60"},"ME",{"v":2177.5288746650444,"d":"2177.53"},{"v":544.3822186662611,"d":"544.38"},"ME",{"v":2549.4,"d":"2549.40"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,6,"3",9925.44,10153.92,23,40436,21662,23,"GEN",919037.75,"EP",2481.36,"ME",{"v":2141.8991976281213,"d":"2141.90"},{"v":535.4747994070303,"d":"535.47"},"ME",2538.48,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,6,"4",9959.04,10184.16,24,40437,21662,24,"GEN",{"v":919038,"d":"919038.00"},"EP",2489.76,"ME",{"v":2129.468756286409,"d":"2129.47"},{"v":532.3671890716023,"d":"532.37"},"ME",2546.04,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,7,"1",9972.48,10194.24,25,40414,21662,25,"GEN",919038.25,"EP",2493.12,"ME",{"v":2114.7510083222587,"d":"2114.75"},{"v":528.6877520805647,"d":"528.69"},"ME",2548.56,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,7,"2",9972.48,10194.24,26,40415,21662,26,"GEN",{"v":919038.5,"d":"919038.50"},"EP",2493.12,"ME",{"v":2114.7510083222587,"d":"2114.75"},{"v":528.6877520805647,"d":"528.69"},"ME",2548.56,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,7,"3",{"v":10046.4,"d":"10046.40"},10271.52,27,40416,21662,27,"GEN",919038.75,"EP",{"v":2511.6,"d":"2511.60"},"ME",{"v":2138.6842100693625,"d":"2138.68"},{"v":534.6710525173406,"d":"534.67"},"ME",2567.88,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,7,"4",10170.72,10419.36,28,40417,21662,28,"GEN",{"v":919039,"d":"919039.00"},"EP",2542.68,"ME",{"v":2262.6350768959696,"d":"2262.64"},{"v":565.6587692239924,"d":"565.66"},"ME",2604.84,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,8,"1",10190.88,10439.52,29,40418,21662,29,"GEN",919039.25,"EP",2547.72,"ME",{"v":2264.84936717655,"d":"2264.85"},{"v":566.2123417941375,"d":"566.21"},"ME",2609.88,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,8,"2",10116.96,10372.32,30,40419,21662,30,"GEN",{"v":919039.5,"d":"919039.50"},"EP",2529.24,"ME",{"v":2287.3877110800445,"d":"2287.39"},{"v":571.8469277700111,"d":"571.85"},"ME",2593.08,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,8,"3",10093.44,10338.72,31,40420,21662,31,"GEN",919039.75,"EP",2523.36,"ME",{"v":2238.660359411397,"d":"2238.66"},{"v":559.6650898528493,"d":"559.67"},"ME",2584.68,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,8,"4",{"v":10063.2,"d":"10063.20"},10301.76,32,40421,21662,32,"GEN",{"v":919040,"d":"919040.00"},"EP",{"v":2515.8,"d":"2515.80"},"ME",{"v":2204.147195084754,"d":"2204.15"},{"v":551.0367987711885,"d":"551.04"},"ME",2575.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,9,"1",9999.36,10234.56,33,40422,21662,33,"GEN",919040.25,"EP",2499.84,"ME",{"v":2181.51735817068,"d":"2181.52"},{"v":545.37933954267,"d":"545.38"},"ME",2558.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,9,"2",10043.04,10291.68,34,40423,21662,34,"GEN",{"v":919040.5,"d":"919040.50"},"EP",2510.76,"ME",{"v":2248.5606019851866,"d":"2248.56"},{"v":562.1401504962967,"d":"562.14"},"ME",2572.92,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,9,"3",10019.52,10254.72,35,40424,21662,35,"GEN",919040.75,"EP",2504.88,"ME",{"v":2183.6898241279555,"d":"2183.69"},{"v":545.9224560319889,"d":"545.92"},"ME",2563.68,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,9,"4",10036.32,10288.32,36,40425,21662,36,"GEN",{"v":919041,"d":"919041.00"},"EP",2509.08,"ME",{"v":2263.1414626576043,"d":"2263.14"},{"v":565.7853656644011,"d":"565.79"},"ME",2572.08,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,10,"1",{"v":9945.6,"d":"9945.60"},10177.44,37,40426,21662,37,"GEN",919041.25,"EP",{"v":2486.4,"d":"2486.40"},"ME",{"v":2159.936479065991,"d":"2159.94"},{"v":539.9841197664978,"d":"539.98"},"ME",2544.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,10,"2",10059.84,10311.84,38,40427,21662,38,"GEN",{"v":919041.5,"d":"919041.50"},"EP",2514.96,"ME",{"v":2265.758892733293,"d":"2265.76"},{"v":566.4397231833233,"d":"566.44"},"ME",2577.96,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,10,"3",10032.96,{"v":10298.4,"d":"10298.40"},39,40428,21662,39,"GEN",919041.75,"EP",2508.24,"ME",{"v":2323.091947900471,"d":"2323.09"},{"v":580.7729869751178,"d":"580.77"},"ME",{"v":2574.6,"d":"2574.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,10,"4",9999.36,{"v":10248,"d":"10248.00"},40,40429,21662,40,"GEN",{"v":919042,"d":"919042.00"},"EP",2499.84,"ME",{"v":2243.725382126787,"d":"2243.73"},{"v":560.9313455316967,"d":"560.93"},"ME",{"v":2562,"d":"2562.00"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,11,"1",{"v":10029.6,"d":"10029.60"},10288.32,41,40430,21662,41,"GEN",919042.25,"EP",{"v":2507.4,"d":"2507.40"},"ME",{"v":2292.7390305920094,"d":"2292.74"},{"v":573.1847576480023,"d":"573.18"},"ME",2572.08,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,11,"2",10069.92,10318.56,42,40431,21662,42,"GEN",{"v":919042.5,"d":"919042.50"},"EP",2517.48,"ME",{"v":2251.5309607464837,"d":"2251.53"},{"v":562.8827401866209,"d":"562.88"},"ME",2579.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,11,"3",10043.04,10291.68,43,40432,21662,43,"GEN",919042.75,"EP",2510.76,"ME",{"v":2248.5606019851866,"d":"2248.56"},{"v":562.1401504962967,"d":"562.14"},"ME",2572.92,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,11,"4",10116.96,10368.96,44,40433,21662,44,"GEN",{"v":919043,"d":"919043.00"},"EP",2529.24,"ME",{"v":2272.1029554137735,"d":"2272.10"},{"v":568.0257388534434,"d":"568.03"},"ME",2592.24,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,12,"1",10143.84,10402.56,45,40434,21662,45,"GEN",919043.25,"EP",2535.96,"ME",{"v":2305.594198465979,"d":"2305.59"},{"v":576.3985496164947,"d":"576.40"},"ME",2600.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,12,"2",10056.48,10301.76,46,40435,21662,46,"GEN",{"v":919043.5,"d":"919043.50"},"EP",2514.12,"ME",{"v":2234.6071482925163,"d":"2234.61"},{"v":558.6517870731291,"d":"558.65"},"ME",2575.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,12,"3",10103.52,{"v":10365.6,"d":"10365.60"},47,40436,21662,47,"GEN",919043.75,"EP",2525.88,"ME",{"v":2316.1491682532037,"d":"2316.15"},{"v":579.0372920633009,"d":"579.04"},"ME",{"v":2591.4,"d":"2591.40"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,12,"4",{"v":10096.8,"d":"10096.80"},10355.52,48,40437,21662,48,"GEN",{"v":919044,"d":"919044.00"},"EP",{"v":2524.2,"d":"2524.20"},"ME",{"v":2300.309594467672,"d":"2300.31"},{"v":575.077398616918,"d":"575.08"},"ME",2588.88,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,13,"1",10120.32,{"v":10382.4,"d":"10382.40"},49,40414,21662,49,"GEN",919044.25,"EP",2530.08,"ME",{"v":2318.049364789284,"d":"2318.05"},{"v":579.512341197321,"d":"579.51"},"ME",{"v":2595.6,"d":"2595.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,13,"2",10036.32,{"v":10281.6,"d":"10281.60"},50,40415,21662,50,"GEN",{"v":919044.5,"d":"919044.50"},"EP",2509.08,"ME",{"v":2232.3932040749464,"d":"2232.39"},{"v":558.0983010187366,"d":"558.10"},"ME",{"v":2570.4,"d":"2570.40"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,13,"3",9942.24,10167.36,51,40416,21662,51,"GEN",919044.75,"EP",2485.56,"ME",{"v":2127.691977707302,"d":"2127.69"},{"v":531.9229944268255,"d":"531.92"},"ME",2541.84,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,13,"4",9948.96,{"v":10180.8,"d":"10180.80"},52,40417,21662,52,"GEN",{"v":919045,"d":"919045.00"},"EP",2487.24,"ME",{"v":2160.2970995675582,"d":"2160.30"},{"v":540.0742748918896,"d":"540.07"},"ME",{"v":2545.2,"d":"2545.20"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,14,"1",10036.32,{"v":10281.6,"d":"10281.60"},53,40418,21662,53,"GEN",919045.25,"EP",2509.08,"ME",{"v":2232.3932040749464,"d":"2232.39"},{"v":558.0983010187366,"d":"558.10"},"ME",{"v":2570.4,"d":"2570.40"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,14,"2",10133.76,10395.84,54,40419,21662,54,"GEN",{"v":919045.5,"d":"919045.50"},"EP",2533.44,"ME",{"v":2319.568401233299,"d":"2319.57"},{"v":579.8921003083248,"d":"579.89"},"ME",2598.96,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,14,"3",10153.92,10429.44,55,40420,21662,55,"GEN",919045.75,"EP",2538.48,"ME",{"v":2381.412888854011,"d":"2381.41"},{"v":595.3532222135027,"d":"595.35"},"ME",2607.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,14,"4",{"v":10130.4,"d":"10130.40"},10392.48,56,40421,21662,56,"GEN",{"v":919046,"d":"919046.00"},"EP",{"v":2532.6,"d":"2532.60"},"ME",{"v":2319.188735398651,"d":"2319.19"},{"v":579.7971838496627,"d":"579.80"},"ME",2598.12,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,15,"1",10140.48,10405.92,57,40422,21662,57,"GEN",919046.25,"EP",2535.12,"ME",{"v":2335.345031467515,"d":"2335.35"},{"v":583.8362578668788,"d":"583.84"},"ME",2601.48,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,15,"2",10039.68,10301.76,58,40423,21662,58,"GEN",{"v":919046.5,"d":"919046.50"},"EP",2509.92,"ME",{"v":2308.914159339837,"d":"2308.91"},{"v":577.2285398349593,"d":"577.23"},"ME",2575.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,15,"3",10002.72,10254.72,59,40424,21662,59,"GEN",919046.75,"EP",2500.68,"ME",{"v":2259.397016905173,"d":"2259.40"},{"v":564.8492542262933,"d":"564.85"},"ME",2563.68,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,15,"4",10039.68,10308.48,60,40425,21662,60,"GEN",{"v":919047,"d":"919047.00"},"EP",2509.92,"ME",{"v":2338.7144776564705,"d":"2338.71"},{"v":584.6786194141176,"d":"584.68"},"ME",2577.12,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,16,"1",10026.24,10274.88,61,40426,21662,61,"GEN",919047.25,"EP",2506.56,"ME",{"v":2246.702133528162,"d":"2246.70"},{"v":561.6755333820405,"d":"561.68"},"ME",2568.72,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,16,"2",10053.12,10318.56,62,40427,21662,62,"GEN",{"v":919047.5,"d":"919047.50"},"EP",2513.28,"ME",{"v":2325.3943190779423,"d":"2325.39"},{"v":581.3485797694856,"d":"581.35"},"ME",2579.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,16,"3",10036.32,{"v":10298.4,"d":"10298.40"},63,40428,21662,63,"GEN",919047.75,"EP",2509.08,"ME",{"v":2308.532741288282,"d":"2308.53"},{"v":577.1331853220705,"d":"577.13"},"ME",{"v":2574.6,"d":"2574.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,16,"4",9891.84,10120.32,64,40429,21662,64,"GEN",{"v":919048,"d":"919048.00"},"EP",2472.96,"ME",{"v":2138.312025126357,"d":"2138.31"},{"v":534.5780062815893,"d":"534.58"},"ME",2530.08,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,17,"1",9915.36,{"v":10147.2,"d":"10147.20"},65,40430,21662,65,"GEN",919048.25,"EP",2478.84,"ME",{"v":2156.6881810776454,"d":"2156.69"},{"v":539.1720452694113,"d":"539.17"},"ME",{"v":2536.8,"d":"2536.80"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,17,"2",9925.44,{"v":10164,"d":"10164.00"},66,40431,21662,66,"GEN",{"v":919048.5,"d":"919048.50"},"EP",2481.36,"ME",{"v":2189.1863343260634,"d":"2189.19"},{"v":547.2965835815158,"d":"547.30"},"ME",{"v":2541,"d":"2541.00"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,17,"3",{"v":9878.4,"d":"9878.40"},10110.24,67,40432,21662,67,"GEN",919048.75,"EP",{"v":2469.6,"d":"2469.60"},"ME",{"v":2152.711382791479,"d":"2152.71"},{"v":538.1778456978698,"d":"538.18"},"ME",2527.56,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,17,"4",{"v":8820,"d":"8820.00"},9001.44,68,40433,21662,68,"GEN",{"v":919049,"d":"919049.00"},"EP",{"v":2205,"d":"2205.00"},"ME",{"v":1798.199675675649,"d":"1798.20"},{"v":449.5499189189122,"d":"449.55"},"ME",2250.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,18,"1",8043.84,8205.12,69,40434,21662,69,"GEN",919049.25,"EP",2010.96,"ME",{"v":1618.8367023267065,"d":"1618.84"},{"v":404.7091755816766,"d":"404.71"},"ME",2051.28,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,18,"2",7932.96,8077.44,70,40435,21662,70,"GEN",{"v":919049.5,"d":"919049.50"},"EP",1983.24,"ME",{"v":1520.915050882196,"d":"1520.92"},{"v":380.228762720549,"d":"380.23"},"ME",2019.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,18,"3",8890.56,9041.76,71,40436,21662,71,"GEN",919049.75,"EP",2222.64,"ME",{"v":1646.6228420619047,"d":"1646.62"},{"v":411.6557105154762,"d":"411.66"},"ME",2260.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,18,"4",10258.08,{"v":10449.6,"d":"10449.60"},72,40437,21662,72,"GEN",{"v":919050,"d":"919050.00"},"EP",2564.52,"ME",{"v":1991.4655090159122,"d":"1991.47"},{"v":497.86637725397804,"d":"497.87"},"ME",{"v":2612.4,"d":"2612.40"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,19,"1",10614.24,10872.96,73,40414,21662,73,"GEN",919050.25,"EP",2653.56,"ME",{"v":2357.78887604467,"d":"2357.79"},{"v":589.4472190111675,"d":"589.45"},"ME",2718.24,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,19,"2",{"v":10836,"d":"10836.00"},11084.64,74,40415,21662,74,"GEN",{"v":919050.5,"d":"919050.50"},"EP",{"v":2709,"d":"2709.00"},"ME",{"v":2334.5980231294607,"d":"2334.60"},{"v":583.6495057823652,"d":"583.65"},"ME",2771.16,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,19,"3",10731.84,10967.04,75,40416,21662,75,"GEN",919050.75,"EP",2682.96,"ME",{"v":2259.109686580096,"d":"2259.11"},{"v":564.777421645024,"d":"564.78"},"ME",2741.76,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,19,"4",10809.12,11094.72,76,40417,21662,76,"GEN",{"v":919051,"d":"919051.00"},"EP",2702.28,"ME",{"v":2501.1470776425695,"d":"2501.15"},{"v":625.2867694106424,"d":"625.29"},"ME",2773.68,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,20,"1",10782.24,{"v":11020.8,"d":"11020.80"},77,40418,21662,77,"GEN",919051.25,"EP",2695.56,"ME",{"v":2280.6431598125987,"d":"2280.64"},{"v":570.1607899531497,"d":"570.16"},"ME",{"v":2755.2,"d":"2755.20"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,20,"2",10799.04,11074.56,78,40419,21662,78,"GEN",{"v":919051.5,"d":"919051.50"},"EP",2699.76,"ME",{"v":2454.916347250955,"d":"2454.92"},{"v":613.7290868127387,"d":"613.73"},"ME",2768.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,20,"3",10812.48,11098.08,79,40420,21662,79,"GEN",919051.75,"EP",2703.12,"ME",{"v":2501.5307185801266,"d":"2501.53"},{"v":625.3826796450317,"d":"625.38"},"ME",2774.52,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,20,"4",10829.28,11108.16,80,40421,21662,80,"GEN",{"v":919052,"d":"919052.00"},"EP",2707.32,"ME",{"v":2473.4415835430586,"d":"2473.44"},{"v":618.3603958857647,"d":"618.36"},"ME",2777.04,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,21,"1",10862.88,{"v":11138.4,"d":"11138.40"},81,40422,21662,81,"GEN",919052.25,"EP",2715.72,"ME",{"v":2462.07080840499,"d":"2462.07"},{"v":615.5177021012476,"d":"615.52"},"ME",{"v":2784.6,"d":"2784.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,21,"2",10859.52,11141.76,82,40423,21662,82,"GEN",{"v":919052.5,"d":"919052.50"},"EP",2714.88,"ME",{"v":2491.9151805789847,"d":"2491.92"},{"v":622.9787951447462,"d":"622.98"},"ME",2785.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,21,"3",10899.84,11185.44,83,40424,21662,83,"GEN",919052.75,"EP",2724.96,"ME",{"v":2511.4848134121794,"d":"2511.48"},{"v":627.8712033530448,"d":"627.87"},"ME",2796.36,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,21,"4",{"v":10852.8,"d":"10852.80"},{"v":11138.4,"d":"11138.40"},84,40425,21662,84,"GEN",{"v":919053,"d":"919053.00"},"EP",{"v":2713.2,"d":"2713.20"},"ME",{"v":2506.1298290391896,"d":"2506.13"},{"v":626.5324572597974,"d":"626.53"},"ME",{"v":2784.6,"d":"2784.60"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,22,"1",10862.88,11145.12,85,40426,21662,85,"GEN",919053.25,"EP",2715.72,"ME",{"v":2492.295712791729,"d":"2492.30"},{"v":623.0739281979322,"d":"623.07"},"ME",2786.28,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,22,"2",{"v":10785.6,"d":"10785.60"},11057.76,86,40427,21662,86,"GEN",{"v":919053.5,"d":"919053.50"},"EP",{"v":2696.4,"d":"2696.40"},"ME",{"v":2438.214276391636,"d":"2438.21"},{"v":609.553569097909,"d":"609.55"},"ME",2764.44,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,22,"3",10755.36,{"v":11004,"d":"11004.00"},87,40428,21662,87,"GEN",919053.75,"EP",2688.84,"ME",{"v":2325.993824239434,"d":"2325.99"},{"v":581.4984560598585,"d":"581.50"},"ME",{"v":2751,"d":"2751.00"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,22,"4",10795.68,11034.24,88,40429,21662,88,"GEN",{"v":919054,"d":"919054.00"},"EP",2698.92,"ME",{"v":2282.048578624038,"d":"2282.05"},{"v":570.5121446560095,"d":"570.51"},"ME",2758.56,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,23,"1",10775.52,{"v":11020.8,"d":"11020.80"},89,40430,21662,89,"GEN",919054.25,"EP",2693.88,"ME",{"v":2312.1854098666013,"d":"2312.19"},{"v":578.0463524666503,"d":"578.05"},"ME",{"v":2755.2,"d":"2755.20"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,23,"2",10765.44,11014.08,90,40431,21662,90,"GEN",{"v":919054.5,"d":"919054.50"},"EP",2691.36,"ME",{"v":2327.0710889012353,"d":"2327.07"},{"v":581.7677722253088,"d":"581.77"},"ME",2753.52,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,23,"3",{"v":10718.4,"d":"10718.40"},10960.32,91,40432,21662,91,"GEN",919054.75,"EP",{"v":2679.6,"d":"2679.60"},"ME",{"v":2290.0908153171586,"d":"2290.09"},{"v":572.5227038292896,"d":"572.52"},"ME",2740.08,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,23,"4",10792.32,11040.96,92,40433,21662,92,"GEN",{"v":919055,"d":"919055.00"},"EP",2698.08,"ME",{"v":2329.941359605426,"d":"2329.94"},{"v":582.4853399013565,"d":"582.49"},"ME",2760.24,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,24,"1",10846.08,{"v":11104.8,"d":"11104.80"},93,40434,21662,93,"GEN",919055.25,"EP",2711.52,"ME",{"v":2383.0928797677975,"d":"2383.09"},{"v":595.7732199419494,"d":"595.77"},"ME",{"v":2776.2,"d":"2776.20"},1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,24,"2",10977.12,11242.56,94,40435,21662,94,"GEN",{"v":919055.5,"d":"919055.50"},"EP",2744.28,"ME",{"v":2428.5781558763906,"d":"2428.58"},{"v":607.1445389690977,"d":"607.14"},"ME",2810.64,1,0,1,"P00",30112487205,null,1]
["ATPLAST       ",110404,24,"3",10940.16,11208.96,95,40436,21662,95,"GEN",919055.75,"EP",2735.04,"ME",{"v":2440.01710157941,"d":"2440.02"},{"v":610.0042753948525,"d":"610.00"},"ME",2802.24,1,0,1,"P00",30112487205,null,1]