{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Qualified Product List","Definitions for Column Headers","Key Efficiency Criteria"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Qualified Product List","index":0,"n_rows":151,"n_cols":14,"rows_kept":151,"merged":[[0,1,0,9],[1,1,1,3],[2,1,2,8],[4,1,4,7],[8,1,8,5],[10,1,10,8]],"flags":["formulas_cached_only"]}
[null,"Non-AHRI Central Air Conditioner Equipment and Air Source Heat Pump (ASHP) Product List"]
[null,"List Posted on September 17, 2012"]
[null,"Below are currently qualified ENERGY STAR models available for sale in the U.S."]
[]
[null,"The below listed products have been submitted to EPA by ENERGY STAR partners that do participate in the AHRI certification program. EPA will continue to update this list with products that are certified by EPA-recognized certification bodies other than AHRI. The majority of ENERGY STAR products, certified by AHRI, can be found on the CEE/AHRI Verified Directory at:"]
[]
[null,"http://www.ceedirectory.org/"]
[]
[null,"To see a list of these products, select \"labeled ENERGY STAR\" in the search criteria."]
[]
[null,"\n*For units offered with more than one assembly, the indoor unit that is paired with each matched assembly is listed separately."]
[]
[null,"ENERGY STAR Partner","Brand","Model Name","Model Number","Additional Model Information","Indoor Unit Model Number","Product Type","SEER (Btu/Wh)","EER (Btu/Wh)","HSPF (Btu/Wh)","Capacity (Btu/h)","Date Available on Market","Date Qualified"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43AX009PH3H1C",null,"CH43AX009-H3H1C","CAC - Mini or Multi Split","21.7","14.2",null,"9000","2011-10-14","2011-10-12"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43AX012PH3H1C",null,"CH43AX012-H3H1C","CAC - Mini or Multi Split","20.0","12.3",null,"12000","2011-10-14","2011-10-12"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43AX018PH3H1C",null,"CH43AX018-H3H1C","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-10-14","2011-10-12"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43AX024PH3H1C",null,"CH43AX024-H3H1C","CAC - Mini or Multi Split","18.0","12.0",null,"21500","2011-10-14","2011-10-12"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43BX009PH3H1C",null,"CH43BX009-H3H1C","CAC - Mini or Multi Split","23.0","14.8",null,"9000","2011-09-01","2011-08-16"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43BX012PH3H1C",null,"CH43BX012-H3H1C","CAC - Mini or Multi Split","22.0","12.5",null,"12000","2011-09-01","2011-08-16"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43BX018PH3H1C",null,"CH43BX018-H3H1C","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-09-01","2011-08-16"]
[null,"Carrier Interamerica Corporation","CIAC","Residential CAC - Split System","CG43BX024PH3H1C",null,"CH43BX024-H3H1C","CAC - Mini or Multi Split","18.0","12.0",null,"22000","2011-09-01","2011-08-16"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CCS009CA",null,"CCS009CA(I)","CAC - Mini or Multi Split","18.0","14.13",null,"9000","2011-11-15","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CCS012CA",null,"CCS012CA(I)","CAC - Mini or Multi Split","18.0","12.9",null,"12000","2011-11-15","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CCS012CD",null,"CCS012CD(I)","CAC - Mini or Multi Split","18.0","12.9",null,"12200","2011-11-15","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CCS018CD",null,"CCS018CD(I)","CAC - Mini or Multi Split","18.0","12.89",null,"18000","2011-11-15","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CHP009CA",null,"CHP009CA(I)","ASHP - Mini or Multi Split","18.0","14.0","9.72","9000","2011-11-05","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CHP012CA",null,"CHP012CA(I)","ASHP - Mini or Multi Split","18.0","12.85","9.47","12000","2011-11-05","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CHP012CD",null,"CHP012CD(I)","ASHP - Mini or Multi Split","18.0","12.85","9.3","12000","2011-11-15","2011-11-09"]
[null,"Eair LLC","Comfort Star","Split type air conditioner","CHP018CD",null,"CHP018CD(I)","ASHP - Mini or Multi Split","18.0","12.9","9.6","18000","2011-11-15","2011-11-09"]
[null,"Electrolux Home Products","Frigidaire","Split Type Air Conditioner","FRS094YC1",null,"FRS094YW1","CAC - Mini or Multi Split","18.0","13.6",null,"9000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Heat Pump","FRS09PYC1",null,"FRS09PYW1","ASHP - Mini or Multi Split","18.0","13.6","9.8","9000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Air Conditioner","FRS124YC1",null,"FRS124YW1","CAC - Mini or Multi Split","18.0","12.0",null,"12000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Heat Pump","FRS12PYC1",null,"FRS12PYW1","ASHP - Mini or Multi Split","18.0","12.0","9.6","12000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Air Conditioner","FRS184YC2",null,"FRS184YW2","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Heat Pump","FRS18PYC2",null,"FRS18PYW2","ASHP - Mini or Multi Split","18.0","12.0","10.2","18000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Air Conditioner","FRS224YC2",null,"FRS224YW2","CAC - Mini or Multi Split","18.0","12.0",null,"24000","2011-11-01","2011-03-16"]
[null,"Electrolux Home Products","Frigidaire","Split Type Heat Pump","FRS22PYC2",null,"FRS22PYW2","ASHP - Mini or Multi Split","18.0","12.0","10.2","21500","2011-11-01","2011-03-16"]
[null,"Friedrich Air Conditioning Company","Friedrich","Split type air conditioner","MR09C1H",null,"MW09C1H","CAC - Split System","22.0","14.2",null,"9000","2012-04-29","2012-04-19"]
[null,"Friedrich Air Conditioning Company","Friedrich","Split type air conditioner","MR12C1H",null,"MW12C1H","CAC - Split System","20.0","13.0",null,"12000","2012-04-29","2012-04-19"]
[null,"Fujitsu General (Shanghai) Co., Ltd.","Fujitsu","ASU12RLS2/AOU12RLS2","ASU12RLS2/AOU12RLS2",null,"ASU12RLS2","ASHP - Split System","28.77","15.13","13.5","12000","2011-11-01","2012-05-08"]
[null,"Fujitsu General (Shanghai) Co., Ltd.","Fujitsu","ASU15RLS2/AOU15RLS2","ASU15RLS2/AOU15RLS2",null,"ASU15RLS2","ASHP - Split System","25.43","12.2","14.01","14500","2011-11-01","2012-05-08"]
[null,"Fujitsu General (Shanghai) Co., Ltd.","Fujitsu","ASU9RLS2/AOU9RLS2","ASU9RLS2/AOU9RLS2",null,"ASU9RLS2","ASHP - Split System","30.36","16.83","13.98","9000","2011-11-01","2012-05-08"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSC092E19MC",null,"MSC092E19AX","CAC - Mini or Multi Split","19.39","14.13",null,"9000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSC122E19MC",null,"MSC122E19AX","CAC - Mini or Multi Split","19.86","12.9",null,"12000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSC123E19MC",null,"MSC123E19AX","CAC - Mini or Multi Split","19.18","12.9",null,"12000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSC183E19MC",null,"MSC183E19AX","CAC - Mini or Multi Split","20.31","12.89",null,"18000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSC243E19MC",null,"MSC243E19AX","CAC - Mini or Multi Split","18.51","12.59",null,"24000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSH092E19MC",null,"MSH092E19AX","ASHP - Mini or Multi Split","19.3","14.0","9.72","9000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSH122E19MC",null,"MSH122E19AX","ASHP - Mini or Multi Split","19.8","12.8","9.47","12000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSH123E19MC",null,"MSH123E19AX","ASHP - Mini or Multi Split","19.1","12.85","9.31","12000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSH183E19MC",null,"MSH183E19AX","ASHP - Mini or Multi Split","19.3","12.9","9.79","18000","2011-11-01","2011-10-26"]
[null,"Goodman Manufacturing Company, L.P.","Goodman","Split type air conditioner","MSH243E19MC",null,"MSH243E19AX","ASHP - Mini or Multi Split","18.0","12.6","9.63","24000","2011-11-01","2011-10-26"]
[null,"Gree Electric Appliances Inc of Zhuhai","C2","Split Type Heat Pump","GWH09MA-A3DNA4A/O",null,"GWH09MA-A3DNA4A","ASHP - Mini or Multi Split","22.0","14.2","9.8","9000","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","C2","Split Type Heat Pump","GWH18MC-D3DNA4A/O",null,"GWH18MC-D3DNA4A","ASHP - Mini or Multi Split","18.0","12.0","10.2","18000","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","CIAC","CH43AX009-H3H*C - CG43AX009*H3H*C","CH43AX009-H3H*C - CG43AX009*H3H*C",null,"NA","CAC - Split System","22.00","14.20",null,"9000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","CIAC","CH43AX012-H3H*C - CG43AX012*H3H*C","CH43AX012-H3H*C - CG43AX012*H3H*C",null,"NA","CAC - Split System","20.00","12.00",null,"12000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","Elite","Split Type Heat Pump","EVMO-12X1I-L1A",null,"EVMI-12X1I-L1A","ASHP - Mini or Multi Split","20.0","12.5","9.6","12000","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","Elite","Split Type Heat Pump","EVMO-18X1I-L1A",null,"EVMI-18X1I-L1A","ASHP - Mini or Multi Split","18.0","12.0","10.2","18000","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","Elite","Split Type Heat Pump","EVMO-24X1I-L1A",null,"EVMI-24X1I-L1A","ASHP - Mini or Multi Split","18.0","12.0","10.2","21500","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","Elite","Split Type Heat Pump","EVMO-9X1I-L1A",null,"EVMI-9X1I-L1A","ASHP - Mini or Multi Split","22.0","14.2","9.8","9000","2011-03-29","2011-03-18"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GEH09AA-A3DNA1A/I-GEH09AA-A3DNA1A/O","GEH09AA-A3DNA1A/I-GEH09AA-A3DNA1A/O",null,"GEH09AA-A3DNA1A/I","ASHP - Split System","21.00","13.00","8.50","9000","2011-07-01","2012-08-03"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GEH12AA-A3DNA1A/I-GEH12AA-A3DNA1A/O","GEH12AA-A3DNA1A/I-GEH12AA-A3DNA1A/O",null,"GEH12AA-A3DNA1A/I","ASHP - Split System","21.00","12.00","8.50","12000","2011-07-01","2012-08-09"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWC09AB-D3DNA1D/I - GWC09AB-D3DNA1D/O","GWC09AB-D3DNA1D/I - GWC09AB-D3DNA1D/O",null,"GWC09AB-D3DNA1D/I","CAC - Split System","23.00","14.35",null,"9000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWC09MB-D3DNA3D/I - GWC09MB-D3DNA3D/O","GWC09MB-D3DNA3D/I - GWC09MB-D3DNA3D/O",null,"GWC09MB-D3DNA3D/I ","CAC - Split System","22.00","14.20",null,"9000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWC12AB-D3DNA1D/I - GWC12AB-D3DNA1D/O","GWC12AB-D3DNA1D/I - GWC12AB-D3DNA1D/O",null,"GWC12AB-D3DNA1D/I","CAC - Split System","22.00","12.00",null,"12000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWC12MB-D3DNA3D/I - GWC12MB-D3DNA3D/O","GWC12MB-D3DNA3D/I - GWC12MB-D3DNA3D/O",null,"GWC12MB-D3DNA3D/I","CAC - Split System","20.00","12.00",null,"12000","2011-10-01","2012-08-20"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH09MB-D3DNB3D","GWH09MB-D3DNB3D",null,"GWH09MB-D3DNB3D/I","ASHP - Split System","22","14.2","9.2","9000","2011-10-01","2012-08-27"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH09TB-D3DNA1A/I - GWH09TB-D3DNA1A/O","GWH09TB-D3DNA1A/I - GWH09TB-D3DNA1A/O",null,"GWH09TB-D3DNA1A/I","ASHP - Split System","26.67","15.74","8.92","9000","2011-10-01","2012-05-08"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH09TB-D3DNA3A","GWH09TB-D3DNA3A",null,"GWH09TB-D3DNA3A/I","ASHP - Split System","23","14.35","9.8","9000","2011-10-01","2012-08-27"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH09UB-D3DNA1A","GWH09UB-D3DNA1A","GWH09UB-D3DNA2A,GWH09UB-D3DNA2A,; GWH09UB-D3DNA3A,GWH09UB-D3DNA3A,","GWH09UB-D3DNA1A/I","ASHP - Split System","20","13","9","9000","2012-08-20","2012-08-27"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH12TB-D3DNA1A/I - GWH12TB-D3DNA1A/O","GWH12TB-D3DNA1A/I - GWH12TB-D3DNA1A/O",null,"GWH12TB-D3DNA1A/I","ASHP - Split System","24.32","13.21","9.08","12000","2011-10-01","2012-05-08"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH12TB-D3DNA3A","GWH12TB-D3DNA3A",null,"GWH12TB-D3DNA3A/I","ASHP - Split System","22","12","9.1","12000","2011-10-01","2012-08-27"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH18TC-D3DNA1A","GWH18TC-D3DNA1A",null,"GWH18TCD3DNA1A/I","ASHP - Split System","21.15","12.25","11.08","18000","2012-03-12","2012-05-08"]
[null,"Gree Electric Appliances Inc of Zhuhai","GREE","GWH24AC-D3DNA1D","GWH24AC-D3DNA1D",null,"GWH24AC-D3DNA1D/I","ASHP - Split System","18.00","12.00","9.20","22000","2011-12-10","2012-07-23"]
[null,"Heat Controller Inc.","Comfort-Aire, Century","Split type ASHP","A-VMH09SC-1",null,"B-VMH09SC-1","ASHP - Mini or Multi Split","18.3","13.0","8.6","9000","2011-09-29","2011-09-16"]
[null,"Heat Controller Inc.","Comfort-Aire, Century","Split type ASHP","A-VMH12SC-1",null,"B-VMH12SC-1","ASHP - Mini or Multi Split","19.3","12.1","9.0","12000","2011-09-29","2011-09-16"]
[null,"Heat Controller Inc.","Comfort-Aire, Century","Split type ASHP","A-VMH18SC-1",null,"B-VMH18SC-1","ASHP - Mini or Multi Split","17.7","12.0","9.2","17500","2011-09-29","2011-09-16"]
[null,"Innovair Corporation","Inverter","No name found","IN312C2V31",null,"IN312C2V31","Gas/Electric Package Unit","14.5","12.3",null,"11600","2010-07-30","2011-04-04"]
[null,"Innovair Corporation","Inverter","No name found","IN414C2V31",null,"IN414C2V31","Gas/Electric Package Unit","21.05","17.1",null,"13500","2010-07-30","2011-04-04"]
[null,"Innovair Corporation","Inverter","No name found","IN520C2V31",null,"IN520C2V31","Gas/Electric Package Unit","16.25","13.5",null,"23000","2010-07-30","2011-04-04"]
[null,"Innovair Corporation","Inverter","No name found","IN625C2V31",null,"IN625C2V31","Gas/Electric Package Unit","17.1","14.4",null,"28800","2010-07-30","2011-04-04"]
[null,"International Refrigeration Products","Sea Breeze","Split Type Heat Pump","241-2001-C",null,"241-2001-E","ASHP - Mini or Multi Split","23.0","14.35","9.8","9000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Split Type Heat Pump","241-2002-C",null,"241-2002-E","ASHP - Mini or Multi Split","22.0","12.5","8.9","12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Split Type Heat Pump","241-2003-C",null,"241-2003-E","ASHP - Mini or Multi Split","22.0","12.5","10.5","12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Split Type Heat Pump","241-2004-C",null,"241-2004-E","ASHP - Mini or Multi Split","20.0","12.0","10.2","18000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Split Type Heat Pump","241-2005-C",null,"241-2005-E","ASHP - Mini or Multi Split","18.0","12.0","10.2","22000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Central Air Conditioner","241-4001-C",null,"241-4001-E","CAC - Mini or Multi Split","23.0","14.4",null,"9000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Central Air Conditioner","241-4002-C",null,"241-4002-E","CAC - Mini or Multi Split","22.0","12.5",null,"12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Central Air Conditioner","241-4003-C",null,"241-4003-E","CAC - Mini or Multi Split","22.0","12.5",null,"12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Central Air Conditioner","241-4004-C",null,"241-4004-E","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Sea Breeze","Central Air Conditioner","241-4005-C",null,"241-4005-E","CAC - Mini or Multi Split","18.0","12.0",null,"22000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Split Type Heat Pump","241-1001-C",null,"241-1001-E","ASHP - Mini or Multi Split","23.0","14.4","9.8","9000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Split Type Heat Pump","241-1002-C",null,"241-1002-E","ASHP - Mini or Multi Split","22.0","12.5","8.9","12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Split Type Heat Pump","241-1003-C",null,"241-1003-E","ASHP - Mini or Multi Split","22.0","12.5","10.5","12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Split Type Heat Pump","241-1004-C",null,"241-1004-E","ASHP - Mini or Multi Split","20.0","12.0","10.2","18000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Split Type Heat Pump","241-1005-C",null,"241-1005-E","ASHP - Mini or Multi Split","18.0","12.0","10.2","22000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Central Air Conditioner","241-3001-C",null,"241-3001-E","CAC - Mini or Multi Split","23.0","14.4",null,"9000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Central Air Conditioner","241-3002-C",null,"241-3002-E","CAC - Mini or Multi Split","22.0","12.5",null,"12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Central Air Conditioner","241-3003-C",null,"241-3003-E","CAC - Mini or Multi Split","22.0","12.5",null,"12000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Central Air Conditioner","241-3004-C",null,"241-3004-E","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-06-01","2011-05-20"]
[null,"International Refrigeration Products","Thermal Zone","Central Air Conditioner","241-3005-C",null,"241-3005-E","CAC - Mini or Multi Split","18.0","12.0",null,"22000","2011-06-01","2011-05-20"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-09L1A",null,"MS7-CI-09L1A","CAC - Mini or Multi Split","22.0","14.2",null,"9000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-09P1A",null,"MS7-CI-09P1A","CAC - Mini or Multi Split","22.0","14.2",null,"9000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-12L1A",null,"MS7-CI-12L1A","CAC - Mini or Multi Split","20.0","12.5",null,"12000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-12P1A",null,"MS7-CI-12P1A","CAC - Mini or Multi Split","20.0","12.5",null,"12000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-18P1A",null,"MS7-CI-18P1A","CAC - Mini or Multi Split","18.0","12.0",null,"18000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential CAC - Split System","MS7-CO-24P1A",null,"MS7-CI-24P1A","CAC - Mini or Multi Split","18.0","12.0",null,"21500","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-09L1A",null,"MS7-HI-09L1A","ASHP - Mini or Multi Split","22.0","14.2","9.8","9000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-09P1A",null,"MS7-HI-09P1A","ASHP - Mini or Multi Split","22.0","14.2","9.8","9000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-12L1A",null,"MS7-HI-12L1A","ASHP - Mini or Multi Split","20.0","12.5","9.6","12000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-12P1A",null,"MS7-HI-12P1A","ASHP - Mini or Multi Split","20.0","12.5","9.6","12000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-18P1A",null,"MS7-HI-18P1A","ASHP - Mini or Multi Split","18.0","12.0","10.2","18000","2011-07-31","2011-07-19"]
[null,"Lennox Industries","Lennox","Residential ASHP - Split System","MS7-HO-24P1A",null,"MS7-HI-24P1A","ASHP - Mini or Multi Split","18.0","12.0","10.2","21500","2011-07-31","2011-07-19"]
[null,"Midea USA Inc.","AIR-CON","Split type ASHP","A17CI4H4M18",null,"A17EM4H4M18","ASHP - Mini or Multi Split","17.7","12.0","9.2","18000","2011-10-01","2011-09-26"]
[null,"Midea USA Inc.","AIR-CON","Split type ASHP","A19CI4H4M09",null,"A19EM4H4M09","ASHP - Mini or Multi Split","18.3","13.0","8.6","9000","2011-10-01","2011-09-26"]
[null,"Midea USA Inc.","AIR-CON","Split type ASHP","A20CI4H4M12",null,"A20EM4H4M12","ASHP - Mini or Multi Split","19.3","12.1","9.0","12000","2011-10-01","2011-09-26"]
[null,"Midea USA Inc.","AmericAire","Split type air conditioner","ACC12HP110IM",null,"ACE12HP110IM","ASHP - Mini or Multi Split","19.8","12.8","9.5","12000","2012-05-25","2012-05-18"]
[null,"Midea USA Inc.","AmericAire","Split type air conditioner","ACC18HP220IM",null,"ACE18HP220IM","ASHP - Mini or Multi Split","19.3","12.5","9.8","18000","2012-05-25","2012-05-18"]
[null,"Midea USA Inc.","AmericAire","Split type air conditioner","ACC24HP220IM",null,"ACE24HP220IM","ASHP - Mini or Multi Split","18.0","12.6","9.6","24000","2012-05-25","2012-05-18"]
[null,"Midea USA Inc.","GAIR","Inverter Plus Type Air Conditioner","GS9A-12CRDN1",null,null,"CAC - Mini or Multi Split","19.0","12.5",null,"12000","2012-09-10","2012-08-31"]
[null,"Midea USA Inc.","GAIR","Inverter Plus Type Air Conditioner","GS9A-18CRDN1",null,null,"CAC - Mini or Multi Split","20.0","12.5",null,"18000","2012-09-10","2012-08-31"]
[null,"Midea USA Inc.","GAIR","Inverter Plus Type Air Conditioner","GS9A-24CRDN1",null,null,"CAC - Mini or Multi Split","18.5","12.5",null,"24000","2012-09-10","2012-08-31"]
[null,"Midea USA Inc.","GAIR","Inverter Plus Type Air Conditioner","GSES-12CRDN1",null,null,"CAC - Mini or Multi Split","19.0","12.5",null,"12000","2012-09-10","2012-08-31"]
[null,"Midea USA Inc.","Klimaire","Split type ASHP","KSIL009-H119",null,"KSIL009-H119","ASHP - Mini or Multi Split","19.3","14.0","9.7","10000","2011-11-15","2011-11-04"]
[null,"Midea USA Inc.","Klimaire","Split type ASHP","KSIL012-H119",null,"KSIL012-H119","ASHP - Mini or Multi Split","19.8","12.8","9.6","12500","2011-11-15","2011-11-04"]
[null,"Midea USA Inc.","Klimaire","Split type ASHP","KSIL012-H219",null,"KSIL012-H219","ASHP - Mini or Multi Split","19.1","12.9","9.5","13000","2011-11-15","2011-11-04"]
[null,"Midea USA Inc.","Klimaire","Split type ASHP","KSIL018-H219",null,"KSIL018-H219","ASHP - Mini or Multi Split","19.3","12.9","9.8","19000","2011-11-15","2011-11-04"]
[null,"Midea USA Inc.","Klimaire","Split type ASHP","KSIL024-H219",null,"KSIL024-H219","ASHP - Mini or Multi Split","18.0","12.6","9.7","24600","2011-11-15","2011-11-04"]
[null,"Midea USA Inc.","Klimaire","Split type air conditioner","KSIM009-H219",null,null,"ASHP - Mini or Multi Split","17.9","13.2","9.1","9000","2011-08-14","2011-07-28"]
[null,"Midea USA Inc.","Klimaire","Split type air conditioner","KSIM012-H220",null,null,"ASHP - Mini or Multi Split","19.3","12.1","8.9","12000","2011-08-14","2011-07-28"]
[null,"Midea USA Inc.","Klimaire","Split type air conditioner","KSIM018-H217",null,null,"ASHP - Mini or Multi Split","17.7","12.0","9.2","18000","2011-08-14","2011-07-28"]
[null,"Midea USA Inc.","Senville","Split type air conditioner","MOC-09HFN1-BS0W",null,"MS9A-09HRDN1-BS0W","ASHP - Mini or Multi Split","19.0","14.0","9.6","9000","2012-03-15","2012-03-07"]
[null,"Midea USA Inc.","Senville","Split type air conditioner","MOC-12HFN1-BS0W",null,"MS9A-12HRDN1-BS0W","ASHP - Mini or Multi Split","18.8","12.5","9.6","12000","2012-03-15","2012-03-07"]
[null,"Midea USA Inc.","Senville","Split type air conditioner","MOF-18HFN1-MS0W",null,"MS9A-18HRDN1-MS0W","ASHP - Mini or Multi Split","19.2","12.5","9.6","18000","2012-03-15","2012-03-07"]
[null,"Midea USA Inc.","Senville","Split type air conditioner","MOG-24HDN1-MS0W",null,"MS9A-24HRDN1-MS0W","ASHP - Mini or Multi Split","18.0","12.5","9.6","24000","2012-03-15","2012-03-07"]
[null,"Midea USA Inc.","SMC","Split type air conditioner","SMCAS092L",null,"SMCEV092L","CAC - Mini or Multi Split","19.39","14.13",null,"9000","2012-01-30","2012-01-16"]
[null,"Midea USA Inc.","SMC","Split type air conditioner","SMCAS122L",null,"SMCEV122L","CAC - Mini or Multi Split","19.18","12.9",null,"12000","2012-01-30","2012-01-16"]
[null,"Midea USA Inc.","SMC","Split type air conditioner","SMCAS182L",null,"SMCEV182L","CAC - Mini or Multi Split","20.31","12.89",null,"18000","2012-01-30","2012-01-16"]
[null,"Midea USA Inc.","SMC","Split type air conditioner","SMCAS242L",null,"SMCEV242L","CAC - Mini or Multi Split","18.51","12.59",null,"24000","2012-01-30","2012-01-16"]
[null,"Panasonic","Panasonic","CS-E12NKUAW / CU-E12NKUA","CS-E12NKUAW / CU-E12NKUA",null,"CS-E12NKUAW","ASHP - Split System","20.0","12.0","10.0","12000","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-E18NKUA / CU-E18NKUA","CS-E18NKUA / CU-E18NKUA",null,"CS-E18NKUA","ASHP - Split System","18.0","13.15","8.5","17100","2012-05-16","2012-05-16"]
[null,"Panasonic","Panasonic","CS-E9NKKW / CU-E9NKK","CS-E9NKKW / CU-E9NKK",null,"CS-E9NKKW","ASHP - Split System","17.5","12.1","9.20","8500","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-E9NKUAW / CU-E9NKUA","CS-E9NKUAW / CU-E9NKUA",null,"CS-E9NKUAW","ASHP - Split System","21.0","13.0","10.5","8500","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-S12NKUA / CU-S12NKUA","CS-S12NKUA / CU-S12NKUA",null,"CS-S12NKUA","CAC - Split System","20.00","12.00",null,"12000","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-S18NKUA / CU-S18NKUA","CS-S18NKUA / CU-S18NKUA",null,"CS-S18NKUA","CAC - Split System","18.00","13.15",null,"17100","2012-05-10","2012-03-22"]
[null,"Panasonic","Panasonic","CS-S9NKUA / CU-S9NKUA","CS-S9NKUA / CU-S9NKUA",null,"CS-S9NKUA","CAC - Split System","21.00","13.05",null,"8500","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-S9NKUW-1 / CU-S9NKU-1","CS-S9NKUW-1 / CU-S9NKU-1",null,"CS-S9NKUW-1","CAC - Split System","17.50","12.10",null,"8500","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CS-S9NKUW / CU-S9NKU","CS-S9NKUW / CU-S9NKU",null,"CS-S9NKUW","CAC - Split System","17.5","12.1",null,"8500","2011-12-01","2011-11-18"]
[null,"Panasonic","Panasonic","CU-3KE19NBU","CU-3KE19NBU",null,"CS-MKE9NKU ( 2 unit )","ASHP - Mini or Multi Split","18","12","8.8","17000","2011-11-30","2012-06-14"]
[null,"Panasonic","Panasonic","CU-3KS19NBU","CU-3KS19NBU",null,"CS-MKS9NKU ( 2 unit )","CAC - Mini or Multi Split","18","12",null,"17000","2011-11-30","2012-06-14"]
[null,"Samsung Electronics Co., Ltd.","Samsung","AQN09VFUAGM","AQN09VFUAGM","AQX09VFUAGM,AQX09VFUAGM,","AQN09VFUAGM","ASHP - Split System","19","13.2","9.5","9000","2012-09-01","2012-09-05"]

{"sheet":"Definitions for Column Headers","index":1,"n_rows":18,"n_cols":3,"rows_kept":18,"merged":[[10,1,11,1],[10,2,11,2]],"flags":["formulas_cached_only"]}
[]
[null,"Definitions for Column Headers"]
[]
[null,"Column Header","Definition"]
[null,"ENERGY STAR Partner","An organization that signed a Partnership Agreement with EPA to manufacture or private label ENERGY STAR qualified products."]
[null,"Brand","An identifier assigned by the manufacturer or private labeler to a product or family/series of products for sales and marketing purposes."]
[null,"Model Name","An identifier assigned by the manufacturer or private labeler to a product or family/series of products for sales and marketing purposes."]
[null,"Model Number","A distinguishing identifier, usually alphanumeric, assigned to a product by the manufacturer or private labeler."]
[null,"Additional Model Information","This column includes for the qualified model or family, family members, additional model names, model numbers and other identifying information associated with a  product or family/series of products for sales and marketing purposes. Other identifying information includes, but is not limited to, SKUs, UPC codes, retail numbers, and/or descriptions of models included/not included in the reported Model Family."]
[null,"Indoor Unit Model Number","A distinguishing identifier, usually alphanumeric, assigned to a product by the manufacturer or private labeler."]
[null,"Product Type","Air-Source Heat Pump (ASHP): An air-source unitary heat pump model consists of one or more factory-made assemblies which normally include an indoor conditioning coil(s), compressor(s), and outdoor coil(s), including means to provide a heating function. ASHPs shall provide the function of air heating with controlled temperature, and may include the functions of air-cooling, air-circulation, air-cleaning, dehumidifying or humidifying.\n\nCentral Air Conditioner: A central air conditioner model consists of one or more factory-made assemblies which normally include an evaporator or cooling coil(s), compressor(s), and condenser(s). Central air conditioners provide the function of air-cooling, and may include the functions of air-circulation, air-cleaning, dehumidifying or humidifying.\n\nSingle Package: A single package unit is an ASHP or central air conditioner that combines both condenser and air handling capabilities in a single casing.\n\nSplit System: A split system is an ASHP or central air conditioner with separate indoor (evaporator) and outdoor (condenser) units. For split systems, the energy-efficiency rating of a particular split system is based on the actual condenser-evaporator coil combination of the split system.\n\nGas/Electric Package Unit: A single package unit with gas heating and electric air conditioning that is often installed on a slab or roof."]
[]
[null,"Reported SEER Rating (Btu/Wh)","This is a measure of equipment energy efficiency over the cooling season. It represents the total cooling of a central air conditioner or heat pump (in Btu) during the normal cooling season as compared to the total electric energy input (in watt-hours) consumed during the same period."]
[null,"Reported EER Rating (Btu/Wh)","This is a measure of the instantaneous energy efficiency of cooling equipment. EER is the steady-state rate of heat energy removal (e.g., cooling capacity) by the equipment in Btu/h divided by the steady-state rate of energy input to the equipment in watts. This ratio is expressed in Btus per watt-hour (Btu/Wh)."]
[null,"Reported HSPF Rating (Btu/Wh)","This is a measure of a heat pump's energy efficiency over one heating season. It represents the total heating output of a heat pump (including supplementary electric heat) during the normal heating season (in Btu) as compared to the total electricity consumed (in watt-hours) during the same period."]
[null,"Capacity (Btu/h)","Capacity is defined as the quantity of heat required to raise 1 pound of water by 1 degree Fahrenheit in one hour."]
[null,"Date Available on Market","The date that the model is available for purchase."]
[null,"Date Qualified","The date on which the product was confirmed to meet the ENERGY STAR specification."]

{"sheet":"Key Efficiency Criteria","index":2,"n_rows":13,"n_cols":3,"rows_kept":13,"merged":[[3,1,3,3],[4,1,4,2],[6,1,7,1],[8,1,9,1]],"flags":["formulas_cached_only"]}
[]
[null,"Key Efficiency Criteria"]
[]
[null,"Qualified models meet all ENERGY STAR requirements as listed in the Version 4.1 (Tier 2) ENERGY STAR Program Requirements for Central Air Conditioners and Air Source Heat Pumps that are effective as of January 1, 2009."]
[null,"ENERGY STAR CAC/ASHP - Version 4.1 (Tier 2)"]
[null,"Equipment","Specification"]
[null,"Air-Source Heat Pumps","≥8.2 HSPF/ ≥14.5 SEER/ ≥12 EER* for split systems"]
[null,null,"≥8.0 HSPF/ ≥14 SEER/ ≥11 EER* for single package equipment including gas/electric package units"]
[null,"Central Air Conditioners","≥14.5 SEER/ ≥12 EER* for split systems"]
[null,null,"≥14 SEER/ ≥11 EER* for single package equipment including gas/electric package units"]
[]
[null,"Note:"]
[null,"*Energy Efficiency Ratio"]